## Slide 1
Neutron Cross-Sections for Radionuclide Production
A.S. Voylesa,b, M.S. Basuniab, J.C. Batcheldera, J.D. Bauerc, L.A. Bernsteina,b, E.F. Matthewsa,b
a Nuclear Science and Security Consortium – The University of California, Berkeley
b Lawrence Berkeley National Laboratory, c Lawrence Livermore National Laboratory
References
Conclusions
Acknowledgements
.The UC Berkeley High-Flux Neutron Generator has been used to irradiate Zn and Ti at fast fission-like energies.
Decay spectroscopy following (n,x) reactions provides precise cross sections in ratio to known dosimetry standards.
(n,p) reactions provide mCi quantities of radionuclides for national security, forensics and medical applications.
The capability to precisely measure relative (n,p) cross sections to within 5% uncertainty has been clearly demonstrated.
  Measurements are consistent with existing data and models.
Continued measurement of (n,p) cross sections provides:
  Valuable activation data at fast fission-like energies, useful for forensics and nonproliferation applications and testing.
  Expanded nuclear medicine capabilities through precise dose deposition, as well as patient-specific treatments.
  More efficient and affordable production of radionuclides for various applications, as a proliferation-resistant alternative to production in HEU-fueled reactors.
  Improved fidelity of reaction modeling codes, used for estimating cross sections by comparison to measured data.
Introduction
Production cross sections for many emerging medical radioisotopes currently have unacceptably large uncertainties. Compact neutron generators allow for precise (n,p) cross section measurements, and offer a proliferation-resistant pathway for radioisotope production, with simplified radiochemical product separation. This work focuses on the irradiation of Titanium and Zinc foils using the UC Berkeley High Flux Neutron Generator (HFNG).
AT A GLANCE
Sample irradiAtion
(n,p) cross sections
FUTURE WORK
Research Goals
Expand cross section libraries for radionuclide production, as a part of the U.S. Nuclear Data Program by measuring production cross sections:
  On structural materials for national security applications (Zn, Ti).
  For emerging medical isotopes and radiochemical tracers, via (n,p).
The HFNG is a D-D fusion neutron generator capable of producing an internal flux of approximately 108 , with a flux-averaged neutron energy of 2.55 MeV for target foils loaded into the generator.
Figure 2. MCNP-modeled neutron energy distribution for the HFNG.
Co-loading Indium foils removes flux dependence , allowing for (n,p) activity measurements to within anticipated uncertainties of 10%.
Decay spectra were used to quantify the (n,p) cross section, relative to the well-characterized 113In(n,n')113mIn and 115In(n,n')115mIn dosimetry standards, σIn:
Figure 3. Co-loaded foils for neutron activation.
Figure 7b. Cross section data for the 47Ti(n,p)47Sc reaction.
Continue production cross sections measurements for emerging medical radioisotopes: 47Ca, 67Cu, 89Sr, 105Rh, 149Pm, 159Gd, 161Tb, 166Ho, 169Er, 175Yb, 177Lu, 193mPt.
Extension of measurements up to 55 MeV by developing 7Li(p,n) capabilities at the LBNL 88 Inch Cyclotron.
This work has been carried out at the University of California, Berkeley, and performed under the auspices of the U.S. Department of Energy by Lawrence Livermore National Laboratory under contract DE-AC52-07NA27344 and Lawrence Berkeley National Laboratory under contract # DE-AC02-05CH11231. Funding has been provided from the US Nuclear Regulatory Commission, the Nuclear Science and Security Consortium, and the US Nuclear Data Program.
Figure 6. Measured lifetimes show strong agreement with ENSDF.
Preliminary cross sections are consistent with experimental and evaluated data, as well as reaction modeling results from TALYS.
Cross sections have been measured for 2.764 MeV, + 0.015 MeV / - 0.022 MeV neutrons, to lower uncertainty than existing data.
H. F. Aly et al., Microchim. Acta, vol. 59, no. 1, 1971.
K. S. Bhatki et al., J. Radioanal. Chem., vol. 2, no. 1–2, 1969.
T. H. Bokhari et al., J. Radioanal. Nucl. Chem., vol. 283, no. 2, 2010.
J. F. Briesmeister et al., Los Alamos National Laboratory, 1986.
M. B. Chadwick,et al., Nucl. Data Sheets, vol. 107, no. 12, 2006.
A. J. Koning et al., AIP Conference Proceedings, 2005, vol. 769, no. 2.
M. R. Lewis et al., J. Nucl. Med., vol. 44, no. 8, Aug. 2003.
C. Müller et al., J. Nucl. Med., vol. 55, no. 10, Oct. 2014.
N. Otuka et al., Nucl. Data Sheets, vol. 120, 2014.
L. Pietrelli et al., J. Radioanal. Nucl. Chem., vol. 157, no. 2, 1992.
S. M. Qaim et al., IAEA Technical Reports Series No. 473, 2011.
D. Updegraff et al., “Nuclear Medicine without Nuclear Reactors or Uranium Enrichment,” 2013.
47Ti(n,p)47Sc and 64Zn(n,p)64Cu production cross sections have been successfully measured through neutron activation at the UC Berkeley HFNG.
This work focuses on (n,p) production of the emerging medical radionuclides 64Cu and 47Sc:
  64Cu (t1/2 = 12.7 h via β- and β+ ) is a diagnostic and therapeutic radionuclide.
  47Sc (t1/2 = 3.35 d via β-) production is a potential solution to the 99mTc shortage, with its similar high-intensity 159-keV gamma.
Figure 1. The UC Berkeley High Flux Neutron Generator
Titanium and Zinc foils are co-loaded with Indium
for relative cross section
measurements
Detector Efficiency
γ Attenuation
Measured Photopeak Intensity
Decay
γ Branching Ratio
Figure 7a. Cross section data for the 64Zn(n,p)64Cu reaction.
Figure 5. Planar LEPS gamma-ray spectra for 47Sc and 115mIn
7Li(p,n) neutron
production target
Figure 8. 7Li(p,n) source development schematic
Figure 4. Fraction of total reactions induced in the Indium foil between the energies [0, E’]. The solid red boundaries indicate theenergy region that corresponds to 68.2% of the total activation.